## Index
# | Solution | Bundle / Item Code
1 | Textile Lighting | 202526PASF0000104
2 | Pulverizer | 202526PASF0000379
3 | Printer | 202526PASF0000540
4 | Sewing Machine | 202526PASF0000135
5 | LSK (Laptop) | 202526PASF0000214
6 | Eri Spinning | 202526PASF0000141
7 | Paddy Integrated Processing | 202526PASF0000382
8 | Multi-Stage Processing (Millet) | 202526PASF0000395
9 | Refrigerator | 202526PASF0000248
10 | Multi-Stage Processing | 202526PASF0000387
11 | Light Manufacturing | 202526PASF0000460
12 | Roaster | 202526PASF0000317
13 | Rice huller | 202526PASF0000371
14 | Oil Mill | 202526PASF0000390

## Textile Lighting
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Textile Lighting
Bundle / Item Code: | 202526PASF0000104
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-Poly-Crystalline |  | Poly-Crystalline ¦ 120 ¦ 12
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid |  | Flat Plate ¦ 80 ¦ 12
Inverter / PCU
3 | Solar Inverter/PCU-PWM -SINGLE PHASE |  | PWM ¦ 0.5 ¦ 12 | 1
Mounting Structure
4 | Module Mounting Structure -Poly-Crystalline-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery Box Plastic |  | 1 | 1
Cable
6 | Copper Cable -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
7 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
8 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
9 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -4-SQMM -Flexible -BLACK |  | 4 ¦ Copper ¦ BLACK
11 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
12 | Cable-1 CORE-copper -4-SQMM -Flexible -RED |  | 4 ¦ Copper ¦ RED
13 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
Switch / Socket / MCB
14 | Switch-Socket - Combo-3-Modular box with plate -16A-indicator -3 |  | 1 | 1
15 | MCB-AC-single pole -6A -SINGLE PHASE-c curve |  | 1 | 1
16 | MCB-DC-single pole -10A |  | 1 | 1
17 | Switch Box-surface -2-Modular -WHITE |  | 1 | 1
18 | Switch-AC-6A |  | 1 | 1
Lighting / Fan
19 | 18‑Watt, 230 Vac, 4000K surface‑mounted LED with adjustable mount |  | 1 | 1
20 | LED Bulb-AC-9-W |  | 1 | 1
21 | FAN-Ceiling -AC-32-W |  | 1 | 1
Earthing
22 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
23 | Marking-Single Line Diagram |  | 1 | 1
24 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
25 | Marking-Earthing - AC and DC |  | 1 | 1
Consumables
26 | Consumables |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Pulverizer
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Pulverizer
Bundle / Item Code: | 202526PASF0000379
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 8
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10-kVA-SINGLE PHASE |  | MPPT ¦ 10 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-Inverter / PCU |  | 1 | 1
6 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
Junction / Protection Box
7 | Grid Input Protection Box-SINGLE PHASE-10-kVA |  | 1 | 1
8 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
10 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
11 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
12 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
13 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
15 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
16 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
17 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
18 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
19 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
20 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
21 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
Switch / Socket / MCB
22 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
23 | Switch-AC-6A |  | 1 | 1
24 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
25 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
Lighting / Fan
26 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
27 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
28 | Lightning Arrester |  | 1 | 1
Earthing
29 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
30 | Marking-Earthing - AC and DC |  | 1 | 1
31 | Marking-Lighting Arrestor |  | 1 | 1
32 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
33 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
34 | Marking-Single Line Diagram |  | 1 | 1
Fire Extinguisher
35 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
36 | Consumables |  | 1 | 1
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | 202526CHSF0000143-Blade Type-3-HP-AC-25-kgs/hr |  | 1 | 2
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Printer
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Printer
Bundle / Item Code: | 202526PASF0000540
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-Poly-Crystalline-125-Wp-12V |  | Poly-Crystalline ¦ 125 ¦ 12 | 1
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid-40-Ah-12V-c10 |  | Flat Plate ¦ 40 ¦ 12 | 1
Inverter / PCU
3 | Solar Inverter/PCU-PWM -12V-0.5-kVA-SINGLE PHASE |  | PWM ¦ 0.5 ¦ 12 | 1
Mounting Structure
4 | Module Mounting Structure -Poly-Crystalline-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery BoxPlastic |  | 1 | 1
Cable
6 | Cable-1 CORE-Tinned Copper -4-SQMM -UV protected |  | 4 ¦ Tinned Cu ¦ EARTH
7 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
8 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
Switch / Socket / MCB
9 | Socket-Modular -AC-6A |  | 1 | 1
10 | Switch-AC-6A |  | 1 | 1
11 | MCB-SINGLE PHASE-AC-double pole -b curve -10A |  | 1 | 1
Lighting / Fan
12 | LED Tubelight-AC-10-W |  | 1 | 1
13 | LED Bulb-AC-5-W |  | 1 | 1
Safety / Docs
14 | Marking-Single Line Diagram |  | 1 | 1
15 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Consumables
16 | Consumables |  | 1 | 1
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Printer-Inkjet-35-W-10-Pages/min |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Sewing Machine
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Sewing Machine
Bundle / Item Code: | 202526PASF0000135
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-Poly-Crystalline-150-Wp-12V |  | Poly-Crystalline ¦ 150 ¦ 12 | 2
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid-120-Ah-12V-c10 |  | Flat Plate ¦ 120 ¦ 12 | 1
Inverter / PCU
3 | Solar Inverter/PCU-PWM -12V-0.5-kVA-SINGLE PHASE |  | PWM ¦ 0.5 ¦ 12 | 1
Mounting Structure
4 | Module Mounting Structure -Poly-Crystalline-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery BoxPlastic |  | 1 | 1
Junction / Protection Box
6 | Grid Input Protection Box-SINGLE PHASE-1-kVA |  | 1 | 1
Cable
7 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
8 | Cable-1 CORE-copper -10-SQMM -Flexible -RED |  | 10 ¦ Copper ¦ RED
9 | Cable-1 CORE-copper -10-SQMM -Flexible -BLACK |  | 10 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -10-SQMM -Flexible -BLACK |  | 10 ¦ Copper ¦ BLACK
11 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
12 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -10-SQMM -Flexible -RED |  | 10 ¦ Copper ¦ RED
15 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
16 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
Switch / Socket / MCB
17 | Switch-Socket - Combo-3-Modular box with plate -10A-indicator -3 |  | 1 | 1
18 | Socket-Modular -AC-6A |  | 1 | 1
19 | Switch-AC-6A |  | 1 | 1
20 | MCB-DC-double pole -20A |  | 1 | 1
21 | MCB-SINGLE PHASE-AC-double pole -c curve -10A |  | 1 | 1
Lighting / Fan
22 | FAN-wall mounting -AC-28-W |  | 1 | 1
23 | LED Bulb-AC-10-W |  | 1 | 1
Earthing
24 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
25 | Marking-Single Line Diagram |  | 1 | 1
26 | Marking-Earthing - AC and DC |  | 1 | 1
27 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Consumables
28 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | 202526CHSF0000161-Multi Stitch-60-W-AC-1000-Stitches |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## LSK (Laptop)
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
LSK (Printer+Laptop)
Bundle / Item Code: | 202526PASF0000214
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 1
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid-100-Ah-12V-c10 |  | Flat Plate ¦ 100 ¦ 12 | 2
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-24V-1-kVA-SINGLE PHASE |  | MPPT ¦ 1 ¦ 24 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery BoxPlastic |  | 1 | 1
Junction / Protection Box
6 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
Cable
7 | Cable-1 CORE-copper -10-SQMM -Flexible -BLACK |  | 10 ¦ Copper ¦ BLACK
8 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
9 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
10 | Cable-1 CORE-copper -2.5-SQMM -Flexible -RED |  | 2.5 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
12 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
13 | Cable-1 CORE-copper -10-SQMM -Flexible -RED |  | 10 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -2.5-SQMM -Flexible -BLACK |  | 2.5 ¦ Copper ¦ BLACK
Switch / Socket / MCB
15 | MCB-DC-double pole -10A |  | 1 | 1
16 | MCB-SINGLE PHASE-AC-double pole -c curve -10A |  | 1 | 1
17 | Switch-AC-6A |  | 1 | 1
18 | Switch-AC-6A |  | 1 | 1
19 | Socket-Modular -AC-6A |  | 1 | 1
Lighting / Fan
20 | FAN-wall mounting -AC-28-W |  | 1 | 1
21 | LED Tubelight-AC-10-W |  | 1 | 1
Earthing
22 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
23 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
24 | Marking-Single Line Diagram |  | 1 | 1
Consumables
25 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Computer-Laptop |  | 1 | 1
2 | 202526CHSF0000151-Inkjet-35-W-10-Pages/min |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Eri Spinning
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Eri Spinning
Bundle / Item Code: | 202526PASF0000141
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-Poly-Crystalline-20-Wp-12V |  | Poly-Crystalline ¦ 20 ¦ 12
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid-20-Ah-12V-c10 |  | Flat Plate ¦ 20 ¦ 12
Charge Controller
3 | Charge Controller-PWM -12V-10A |  | PWM ¦ 10 ¦ 12 | 1
Mounting Structure
4 | Module Mounting Structure -Poly-Crystalline-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery BoxPlastic |  | 1 | 1
Cable
6 | Cable-1 CORE-copper -2.5-SQMM -Flexible -RED |  | 2.5 ¦ Copper ¦ RED
7 | Cable-1 CORE-copper -2.5-SQMM -Flexible -BLACK |  | 2.5 ¦ Copper ¦ BLACK
8 | Cable-1 CORE-copper -2.5-SQMM -Flexible -BLACK |  | 2.5 ¦ Copper ¦ BLACK
9 | Cable-1 CORE-copper -2.5-SQMM -Flexible -RED |  | 2.5 ¦ Copper ¦ RED
10 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
11 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
Switch / Socket / MCB
12 | Switch-AC-6A |  | 1 | 1
13 | Socket-Modular -AC-6A |  | 1 | 1
Lighting / Fan
14 | LED Bulb-DC-9-W-12V |  | 1 | 1
Safety / Docs
15 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
16 | Marking-Single Line Diagram |  | 1 | 1
Consumables
17 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Silk Spinning-7-W-DC-0.25-kgs/hr |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Paddy Integrated Processing
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Paddy Integrated Processing
Bundle / Item Code: | 202526PASF0000382
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 8
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10-kVA-SINGLE PHASE |  | MPPT ¦ 10 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
8 | Grid Input Protection Box-SINGLE PHASE-10-kVA |  | 1 | 1
Cable
9 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
10 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
12 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
15 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
16 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
17 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
18 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
19 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
20 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
21 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
Switch / Socket / MCB
22 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
23 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
24 | Switch-AC-6A |  | 1 | 1
25 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
Lighting / Fan
26 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
27 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
28 | Lightning Arrester |  | 1 | 1
Earthing
29 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
30 | Marking-Earthing - AC and DC |  | 1 | 1
31 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
32 | Marking-Single Line Diagram |  | 1 | 1
33 | Marking-Lighting Arrestor |  | 1 | 1
34 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Fire Extinguisher
35 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
36 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Huller Polisher Pulveriser-Rice-Integrated-Engelberg Type-3-HP-AC |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Multi-Stage Processing (Mill
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Multi-Stage Processing (Millet)
Bundle / Item Code: | 202526PASF0000395
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-MONOPERC-400-Wp-24V |  | Mono PERC ¦ 400 ¦ 24
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10.5-kVA-THREE PHASE |  | MPPT ¦ 10.5 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -MONOPERC-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Grid Input Protection Box-THREE PHASE-10-kVA |  | 1 | 1
8 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
12 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
13 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
14 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
15 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
16 | Cable-4 CORE-copper -6-SQMM -Flexible |  | 6 ¦ Copper ¦ EARTH
17 | Cable-4 CORE-copper -6-SQMM -Flexible |  | 6 ¦ Copper ¦ EARTH
18 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
19 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
Switch / Socket / MCB
20 | Change Over Switch-THREE PHASE-Manual -32A |  | 1 | 1
21 | MCB-THREE PHASE-AC-four pole -c curve -32A |  | 1 | 1
22 | MCB-THREE PHASE-AC-four pole -c curve -32A |  | 1 | 1
23 | Switch-AC-6A |  | 1 | 1
Lighting / Fan
24 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
25 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
26 | Lightning Arrester |  | 1 | 1
Earthing
27 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
28 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
29 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
30 | Marking-Earthing - AC and DC |  | 1 | 1
31 | Marking-Single Line Diagram |  | 1 | 1
32 | Marking-Lighting Arrestor |  | 1 | 1
Fire Extinguisher
33 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
34 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Huller-Millet-3-HP-AC-350-kgs/hr 220 Vac - 3 Ph Delta motor With Inbuilt VFD - 1 Ph IN 3 Ph OUT |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Refrigerator
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Refrigerator
Bundle / Item Code: | 202526PASF0000248
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-500-Wp-24V |  | N-Type TOPCon ¦ 500 ¦ 24
Battery
2 | Solar Battery-Flooded Flat plate Lead Acid-100-Ah-12V-c10 |  | Flat Plate ¦ 100 ¦ 12 | 2
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-24V-1-kVA-SINGLE PHASE |  | MPPT ¦ 1 ¦ 24 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Battery BoxPlastic |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Grid Input Protection Box-SINGLE PHASE-1-kVA |  | 1 | 1
8 | Array Junction Box-2 IN 1 OUT -600 VDC |  | 1 | 1
9 | Grid Input Protection Box-SINGLE PHASE-1-kVA |  | 1 | 1
Cable
10 | Cable-1 CORE-copper -2.5-SQMM -Flexible -BLACK |  | 2.5 ¦ Copper ¦ BLACK
11 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
12 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
13 | Cable-1 CORE-copper -10-SQMM -Flexible -RED |  | 10 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
15 | Cable-1 CORE-copper -1.5-SQMM -Flexible -RED |  | 1.5 ¦ Copper ¦ RED
16 | Cable-1 CORE-copper -2.5-SQMM -Flexible -RED |  | 2.5 ¦ Copper ¦ RED
17 | Cable-1 CORE-copper -10-SQMM -Flexible -RED |  | 10 ¦ Copper ¦ RED
18 | Cable-1 CORE-copper -1.5-SQMM -Flexible -BLACK |  | 1.5 ¦ Copper ¦ BLACK
19 | Cable-1 CORE-copper -10-SQMM -Flexible -BLACK |  | 10 ¦ Copper ¦ BLACK
20 | Cable-1 CORE-copper -10-SQMM -Flexible -BLACK |  | 10 ¦ Copper ¦ BLACK
Switch / Socket / MCB
21 | Switch-Socket - Combo-3-Modular box with plate -10A-indicator -3 |  | 1 | 1
22 | Switch-AC-6A |  | 1 | 1
23 | MCB-SINGLE PHASE-AC-double pole -b curve -10A |  | 1 | 1
Lighting / Fan
24 | LED Bulb-AC-10-W |  | 1 | 1
Lightning Protection
25 | Lightning Arrestor |  | 1 | 1
Earthing
26 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
27 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
28 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
29 | Marking-Earthing - AC and DC |  | 1 | 1
30 | Marking-Lighting Arrestor |  | 1 | 1
31 | Marking-Single Line Diagram |  | 1 | 1
Consumables
32 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Refrigerator-100-W-AC-100-Litres |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Multi-Stage Processing
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Multi-Stage Processing
Bundle / Item Code: | 202526PASF0000387
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 8
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10-kVA-SINGLE PHASE |  | MPPT ¦ 10 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
8 | Grid Input Protection Box-SINGLE PHASE-10-kVA |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
12 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
13 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
15 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
16 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
17 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
18 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
19 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
20 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
21 | Cable-1 CORE-copper -4-SQMM -Flexible -BLACK |  | 4 ¦ Copper ¦ BLACK
22 | Cable-1 CORE-copper -4-SQMM -Flexible -RED |  | 4 ¦ Copper ¦ RED
23 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
Switch / Socket / MCB
24 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
25 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
26 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
27 | Switch-Socket - Combo-3-Modular box with plate -16A-indicator -3 |  | 1 | 1
28 | Switch-AC-6A |  | 1 | 1
Lighting / Fan
29 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
30 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
31 | Lightning Arrester |  | 1 | 1
Earthing
32 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
33 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
34 | Marking-Lighting Arrestor |  | 1 | 1
35 | Marking-Single Line Diagram |  | 1 | 1
36 | Marking-Earthing - AC and DC |  | 1 | 1
37 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Fire Extinguisher
38 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
39 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Pounding Machine-2-HP-AC-15-kgs/hr-SINGLE PHASE |  | 1 | 1
2 | Dal Processing-3-HP-AC-250-kgs/hr, 220 Vac - 3 Ph Delta motor With Inbuilt VFD - 1 Ph IN 3 Ph OUT |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Light Manufacturing
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Light Manufacturing
Bundle / Item Code: | 202526PASF0000460
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 5
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 8
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-96V-6-kVA-SINGLE PHASE |  | MPPT ¦ 6 ¦ 96 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-Inverter / PCU |  | 1 | 1
6 | Rack-GI-Flooded Tall Tubular Lead Acid-8-batteries -Electrical In |  | 1 | 1
Junction / Protection Box
7 | Grid Input Protection Box-SINGLE PHASE-7.5-kVA |  | 1 | 1
8 | Array Junction Box-1 IN 1 OUT -250 VDC |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -4-SQMM -Flexible -BLACK |  | 4 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
12 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
14 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
15 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
16 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
17 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
18 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
19 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
20 | Cable-1 CORE-copper -4-SQMM -Flexible -RED |  | 4 ¦ Copper ¦ RED
21 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
Switch / Socket / MCB
22 | Switch-Socket - Combo-3-Modular box with plate -16A-indicator -3 |  | 1 | 1
23 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
24 | Switch-AC-6A |  | 1 | 1
25 | MCB-SINGLE PHASE-AC-double pole -c curve -16A |  | 1 | 1
Lighting / Fan
26 | LED Tubelight-AC-10-W |  | 1 | 1
Lightning Protection
27 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
28 | Lightning Arrester |  | 1 | 1
Earthing
29 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
30 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
31 | Marking-Earthing - AC and DC |  | 1 | 1
32 | Marking-Lighting Arrestor |  | 1 | 1
33 | Marking-Single Line Diagram |  | 1 | 1
34 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Fire Extinguisher
35 | Fire Extinguisher -ABC dry powder or CO2 type -3-kgs |  | 1 | 1
Consumables
36 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Paper Plate Making_2HP AC_1000Pcs/hr |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Roaster
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Roaster
Bundle / Item Code: | 202526PASF0000317
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-MONOPERC-585-Wp-24V |  | Mono PERC ¦ 585 ¦ 24 | 4
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-200-Ah-12V-c10 |  | Tall Tubular ¦ 200 ¦ 12 | 4
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-48V-4-kVA-SINGLE PHASE |  | MPPT ¦ 4 ¦ 48 | 1
Mounting Structure
4 | Module Mounting Structure -MONOPERC-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-GI-Flooded Tall Tubular Lead Acid-4-batteries -Electrical In |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Grid Input Protection Box-SINGLE PHASE-4-kVA |  | 1 | 1
8 | Array Junction Box-2 IN 1 OUT -350 VDC |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
10 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
11 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
12 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
14 | Cable-1 CORE-copper -2.5-SQMM -Flexible -BLACK |  | 2.5 ¦ Copper ¦ BLACK
15 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
16 | Cable-1 CORE-copper -2.5-SQMM -Flexible -RED |  | 2.5 ¦ Copper ¦ RED
17 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
18 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
19 | Cable-1 CORE-copper -4-SQMM -Flexible -BLACK |  | 4 ¦ Copper ¦ BLACK
20 | Cable-1 CORE-copper -4-SQMM -Flexible -RED |  | 4 ¦ Copper ¦ RED
21 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
Switch / Socket / MCB
22 | Switch Box-surface -4-Modular -WHITE |  | 1 | 1
23 | MCB-SINGLE PHASE-AC-double pole -c curve -10A |  | 1 | 1
24 | Switch-AC-6A |  | 1 | 1
25 | Change Over Switch-SINGLE PHASE-Manual -20A |  | 1 | 1
26 | Switch-Socket - Combo-3-Modular box with plate -10A-indicator -3 |  | 1 | 1
Lighting / Fan
27 | FAN-Pedestal-AC-100-W-230 VAC |  | 1 | 1
28 | LED Tubelight-AC-10-W |  | 1 | 1
Lightning Protection
29 | Lightning Arrester |  | 1 | 1
30 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
Earthing
31 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
32 | Marking-Earthing - AC and DC |  | 1 | 1
33 | Marking-Lighting Arrestor |  | 1 | 1
34 | Marking-Single Line Diagram |  | 1 | 1
35 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Consumables
36 | Consumables |  | 1 | 1
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Roaster-Multi Spindal Pot -1-HP-AC-50-kgs/hr |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Rice huller
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Rice huller
Bundle / Item Code: | 202526PASF0000371
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-545-Wp-24V |  | N-Type TOPCon ¦ 545 ¦ 24 | 10
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10-kVA-SINGLE PHASE |  | MPPT ¦ 10 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-Inverter / PCU |  | 1 | 1
6 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
Junction / Protection Box
7 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
8 | Grid Input Protection Box-SINGLE PHASE-10-kVA |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
10 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
12 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
14 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
15 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
16 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
17 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
18 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
19 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
20 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
21 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
Switch / Socket / MCB
22 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
23 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
24 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
25 | Switch-AC-6A |  | 1 | 1
Lighting / Fan
26 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
27 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
28 | Lightning Arrester |  | 1 | 1
Earthing
29 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
30 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
31 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
32 | Marking-Earthing - AC and DC |  | 1 | 1
33 | Marking-Single Line Diagram |  | 1 | 1
34 | Marking-Lighting Arrestor |  | 1 | 1
Fire Extinguisher
35 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
36 | Consumables |  | 1 | 1
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Huller-Rice-3-HP-AC-150-kgs/hr |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω

## Oil Mill
INSTALLATION COMPLETION REPORT
Tender no:
Purchase/Work Order No:
Report No:
Date:
Name & Address of Installation site: (Please mention the complete address of the site including Health facility name, address, state, district, block, P.O, Pin code etc.) | Name: Block / Taluk: District: State: Pincode:
Geo-Coordinates | Latitude: Longitude:
Invoice number
Oil Mill
Bundle / Item Code: | 202526PASF0000390
Bill Of Material (For Solar System)
Sl. No. | Product | Make | Capacity | Quantity
Solar Panel
1 | Solar Panel-N-Type TOPCon-525-Wp-24V |  | N-Type TOPCon ¦ 525 ¦ 24 | 8
Battery
2 | Solar Battery-Flooded Tall Tubular Lead Acid-150-Ah-12V-c10 |  | Tall Tubular ¦ 150 ¦ 12 | 10
Inverter / PCU
3 | Solar Inverter/PCU-MPPT-120V-10-kVA-SINGLE PHASE |  | MPPT ¦ 10 ¦ 120 | 1
Mounting Structure
4 | Module Mounting Structure -N-Type TOPCon-Customized-GI |  | 1 | 1
Rack / Enclosure
5 | Rack-GI-Flooded Tall Tubular Lead Acid-10-batteries -Electrical I |  | 1 | 1
6 | Rack-Inverter / PCU |  | 1 | 1
Junction / Protection Box
7 | Array Junction Box-1 IN 1 OUT -600 VDC |  | 1 | 1
8 | Grid Input Protection Box-SINGLE PHASE-10-kVA |  | 1 | 1
Cable
9 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
10 | Cable-1 CORE-copper -16-SQMM -Flexible -RED |  | 16 ¦ Copper ¦ RED
11 | Cable-1 CORE-copper -4-SQMM -Earthing |  | 4 ¦ Copper ¦ EARTH
12 | Cable-1 CORE-copper -16-SQMM -Flexible -BLACK |  | 16 ¦ Copper ¦ BLACK
13 | Cable-1 CORE-copper -1-SQMM -Flexible -RED |  | 1 ¦ Copper ¦ RED
14 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
15 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
16 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
17 | Cable-1 CORE-copper -6-SQMM -Flexible -RED |  | 6 ¦ Copper ¦ RED
18 | Cable-1 CORE-copper -4-SQMM -Flexible -RED |  | 4 ¦ Copper ¦ RED
19 | Cable-1 CORE-copper -10-SQMM -Earthing |  | 10 ¦ Copper ¦ EARTH
20 | Cable-1 CORE-Tinned Copper -6-SQMM -UV protected |  | 6 ¦ Tinned Cu ¦ EARTH
21 | Cable-1 CORE-copper -1-SQMM -Flexible -BLACK |  | 1 ¦ Copper ¦ BLACK
22 | Cable-1 CORE-copper -6-SQMM -Flexible -BLACK |  | 6 ¦ Copper ¦ BLACK
23 | Cable-1 CORE-copper -4-SQMM -Flexible -BLACK |  | 4 ¦ Copper ¦ BLACK
Switch / Socket / MCB
24 | Switch-Socket - Combo-3-Modular box with plate -16A-indicator -3 |  | 1 | 1
25 | Change Over Switch-SINGLE PHASE-Manual -32A |  | 1 | 1
26 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
27 | Switch-AC-6A |  | 1 | 1
28 | MCB-SINGLE PHASE-AC-double pole -c curve -32A |  | 1 | 1
Lighting / Fan
29 | LED Tubelight-AC-20-W |  | 1 | 1
Lightning Protection
30 | Lightning Arrester |  | 1 | 1
31 | Cable/Down conductor for Lightning Arrestor- GI Strip |  | 1 | 1
Earthing
32 | Earthing Kit. Chemical earthing with copper bond |  | 1 | 1
Safety / Docs
33 | Marking-Signboard for Danger, No Fire and PASS |  | 1 | 1
34 | Marking-Single Line Diagram |  | 1 | 1
35 | Marking-Lighting Arrestor |  | 1 | 1
36 | Marking-Earthing - AC and DC |  | 1 | 1
37 | Marking-Do's and Don'ts Practices Poster |  | 1 | 1
Fire Extinguisher
38 | Fire Extinguisher -ABC dry powder or CO2 type -4-kgs |  | 1 | 1
Consumables
39 | Consumables |  | 1 | 1
Note: "Make" and any blank "Quantity" cells (dependent on string configuration, cable run length, or site layout) are to be filled in by the installing engineer on site.
Associated Machines
Sl. No. | Product | Make | Capacity | Quantity
Machine
1 | Oil Mill-Cold Press-3-HP-AC-20-kgs/hr |  | 1 | 1
2 | Pounding Machine-2-HP-AC-15-kgs/hr-SINGLE PHASE |  | 1 | 1
SYSTEM FUNCTIONALITY PARAMETERS
Date of recording:
Time of recording:
Weather Condition at the time of recording: | Clear Sky ¦ Partially Cloudy ¦ Overcast ¦ Rainy (circle one)
Array Details
Array Size (kWp):
No. of modules:
No. of strings:
No. of modules per string:
Each module capacity (Wp):
Array Parameters (At the AJB)
Test Condition | Parameter | String 1 / String 2 / String 3 / String 4 / String 5 | Array
Grid OFF + AJB MCB OFF | Voc (V)
Grid OFF + AJB MCB ON (wait 20s) | Vmp (V)
Grid OFF + AJB MCB ON (wait 20s) | Imp (A)
Grid OFF + AJB MCB ON (wait 20s) | Pmp (W)
Battery Bank Parameters (With Grid OFF & Load ON)
Particulars | Measured Value | Unit
Battery Bank Voltage |  | V
Battery Bank Current |  | A
PCU/Inverter Parameters (1-Phase / 3-Phase as applicable)
Particulars | Measurement w/ Grid OFF | Unit | Measurement w/ Grid ON | Unit
Load voltage / Inverter output voltage |  | V |  | V
Inverter output frequency |  | Hz |  | Hz
Inverter output current at full load |  | A |  | A
PCU/Inverter Display & Setting
Inverter Priority Setting (Solar-Battery-Grid / Solar-Grid-Battery):
Grid Export Feature (Enabled / Disabled):
Battery Settings — Ah / Type (Tubular / VRLA / LiFePO4):
Load is running on (Inverter / Grid):
Changeover Switch Settings
Changeover switch orientation (Solar / Grid):
Changeover switch functional for both solar & grid (Yes / No):
Measurements at Sockets
Particulars | Measured Value | Unit
Voltage between Phase & Neutral |  | V
Voltage between Phase & Earth |  | V
Voltage between Earth & Neutral |  | V
Earth Pit Tests (standalone, before connecting to system)
Earth Pit Resistance Test | DC Earthing |  | AC Earthing |  | Lightning Arrester-1 |  | Lightning Arrester-2
| Measured | Unit | Measured | Unit | Measured | Unit | Measured | Unit
|  | Ω |  | Ω |  | Ω |  | Ω